## Slide 1: Common Tandem Conjugates
®
Compatible with PE and PE-Cy7,
Relatively bright with low background,
No false-positive results from tandem degradation
Cy5 is excited by a 633 nm/635 nm red laser
Compatible with FITC and PE
Bright fluorochrome, however will non-specifically bind to Fc receptors
Minimal compensation with FITC and PE
Very bright fluorochrome, but exhibits high non-specific binding
Susceptible to degradation upon exposure to paraformaldehyde
Compatible with APC
Relatively dim fluorochrome
Very susceptible to degradation if exposed to PFA
Photo-unstable
PerCP/Cy5.5
PE/Cy5
PE/Cy7
APC/Cy7