## Slide 1: Principles of LEGENDplex™
®
1
2
3
4
Beads have different sizes and inherent APC fluorescence which corresponds to a specific analyte’s capture antibody.
+
Beads are incubated with analyte containing samples, such as serum or cell culture supernatants.
…
A4: IFN-γ
A5: IL-5
A6: TNF-α
A7: IL-2
…
+
Beads with captured analyte are incubated with biotinylated-detection antibody and Streptavidin PE.
Collect data using any flow cytometer.